## List (hidden)
Categories | Features
Optical Distribution Category | FO Connector | Configuration | FOC Protection | Mounting Type
Optical Splice Closure | E2000 | Simplex | Anti Rodent | Wall-mount
Distribution Housings | LC | Duplex | Ballistic Protection | Pole Mount
Multi Dwelling Unit (MDU) | SC | Quadruplex | Dielectric Armoured | DIN Rail
Fiber Termination Box | ST | 1x32 | Dielectric Unarmoured | Handhole mount
Optic Wall Outlet | FC | 1x4 | Metallic Armoured | Pedestal mount
Network Cabinets | MU | 1x2 |  | Strand mount
ODFs & Sub-Racks | LCHD | 1x8
Fiber Patch Panel | CS | 1x16
Splice Cassettes & Drawers | SN | Set
Plug-in Modules | MPO-F
MPO-M
Unconnectorized
Fiber Type (ITU)
OM1 G.651.1
FO Assembles | Package Tpye | CRP | OM2 G.651.1
Pre-Terminated Cables | Set | Aca | OM3 G.651.1
Splitters | Carton | B1ca | OM4 G.651.1
Patch Cords | Box | B2ca | OM5 G.651.1
Pigtails | Pallet | Cca | OS2 G.652.D
FO Connector | Spool | Dca | OS2 G.657.A1
Optic Adapter | Reel | Eca | OS2 G.657.A2
Ferrule | Pallet | Fca | OS2 G.657.B3
Coupling Parts |  |  | OS2 G.653
Attenuator |  |  | OS2 G.654
OS2 G.655
OS2 G.656
Structural Cabling Category
Copper Telecom Cables | Twisted Pair Category | Cable Shielding Type | Cabinet type
Twisted Pair Cables | CAT 5e | U/UTP | Outdoor Cabinet
Patch Panels | CAT 6 | U/FTP | Network cabinet
Racks & Cabinets | CAT 6A | F/UTP | Server cabinet
Outlets, Modules & Faceplates | CAT 7 | F/FTP | Industrial cabinet
RJ45 Ethernet Patch Cords | CAT 7A | S/UTP | Open Frame Rack
Connector RJ45 | CAT 8 | S/FTP | Open rack, unmounted
Keystone Jack |  | SF/UTP
Cassette Module |  | SF/FTP
Adapter
Twinax
HDMI Cable
Coaxial Category | Coaxial Connector Type | Outlet Network Type
Coaxial Cables | Compression SCA | Multimédia (TV-Dados)
Coaxial Jumper Cable | Compression F type | TV/Radio
| IEC | Data-Data
| Pin | DATA/TV/Radio
Coaxial Category | Adapter | TV/Radio-SAT
Coaxial Connectors | Reductor | TV/DATA1/DATA2/Radio
Filters, Equalizers & Attenuators | Splice | TV/DATA/SAT/Radio
House Amplifiers | RF Connector
Satellite
Galvanic Isolator
Coaxial Splitter
Indoor Tap | Coaxial Cable Type | Inner Conductor
Outdoor Tap | RG59 | Bare copper
Directional Coupler | RG6 | Silver plated copper
Power Splitter | RG11 | Tin plated copper
Antenna Wall Outlets | 540 | Nickel plated copper
Push on Adapter | 625 | Copper-clad steel
Faceplates & Frames | 715 | Stranded copper
750
Categories/Microducts | Type of tube | Jacket Material
Microduct Direct Buried | Single Tube | PVC
Microduct Direct Install | Bundle/multi tube | PE
Microduct Aerial | Flat tube | HDPE
Microduct Indoor Application |  | PVDF
Manholes/Chambers |  | FRNC
Accessories - Duct Sealing |  | HFFR
Accessories - Lubricants |  | LSZH
Accessories - Coupling & Termination |  | PUR
Accessories - Gas-water block
Accessories - Joints and Terminations
Tools
Active Equipment | Tools & Acessories
Headend - HFC Equipments | Fusion
Optical Nodes - HFC Equipments | Measure
Amplifiers - HFC Equipments | Pliers
Power Supplies - HFC Equipments | Printers
House Amplifiers | Identification Labels
Home Gateway | Cleaning
Set-Top Box (STB) | Ties & Fasteners
Cordless Phone | Tubes, Taps & Glue
Corded Phone | Bolts, Plugs & Screws
ONT (Optical Network Terminal) | Manhole & Cover
Permises Networking | Wire Rope
Transceivers | Standard Ducts
LAN Switches | Anchoring
PoE | Suspension
Industrial Ethernet | Mounting
Media Converters | Cable Management
Broadband Communication | Fiber Raceway
Wireless LAN | Sleeves
IP Surveillance | Clamps
Duct Sealing
Coupling & Termination
Gas-water block
Joints & Terminations
Energy - Accessories
Safety Equipment
Various

## START
FIBRAIN ON SALE
1 | Fiber Optic Cables
2 | Active Devices
3 | Passive Optical Network
4 | Fibrain DATA
5 | Distribution Fiber
6 | Connectivity Fiber
FIBRAIN Sp. z o.o. Sale General Terms and Conditions are available at: https://fibrain.com/cooperation-with-fibrain/ that is inherent part of herein document.
FIBRAIN Sp. z o.o.
Tel:+48 17 8660812; Fax:+48 17 8660811
Internet: www.fibrain.com email: sales@fibrain.com
|  | Valid up: | 2023-11-27

## Fiber Optic Cables
Typ kabla | Rodzaj włókna | Kod produktu | Opis produktu | Link karta katalogowa | Ilość | Jednostka | Cena jednostkowa PLN | Wartość PLN | Kolorystyka tub | Kolorystyka włókien | Pakowanie | Waga (kg) | Średnica bębna (mm) | Średnica rdzenia bębna (mm) | Magazyn
Dielectric, micromodules, outdoor | SM G657A2 | MDC-FM-288-EM4-0XCOCBKP5P-079-21 | FIBRAIN CABLE MDC-FM SM 288* 9/125 G.657A2 24M12F ESM 1,3 2500N | https://cables.fibrain.com/uploads/produkty_rows/719/doc_en-6156f5daecdaa.pdf?v38 | 1.067 | km | 4395.6 | 4690.1052 | https://cables.fibrain.com/produkt/p5p-color-code,740.html |  | Drum | 578 | 1200 | 500 | RZE
Dielectric, micromodules, outdoor | SM G657A2 | MDC-FM-132-EM3-0XCBCBKP4P-FL-079-21 | FIBRAIN CABLE MDC-FM SM 132* 9/125 G.657A2 11M12F ESM 1,3 2200N | https://cables.fibrain.com/uploads/produkty_rows/719/doc_en-61768b9424735.pdf?v38 | 3.897 | km | 2635.6 | 10270.9332 | https://cables.fibrain.com/produkt/p4p-color-code,741.html |  | Drum | 516 | 1400 | 600 | JAS
Duct outdoor dielectric | SM G657A1 | BDC-C04-084-D-0X120664CBLG1BY-SF-079-21 | FIBRAIN CABLE BDC-C04 SM 84* 9/125 G.657A1 6T6F + 4T12F TUBA 2,0 4000N PE BLUE | https://cables.fibrain.com/uploads/produkty_rows/719/doc_en-617683cd33246.pdf?v38 | 5.076 | km | 1315.6 | 6677.9856 | https://cables.fibrain.com/produkt/g1by-color-code,734.html |  | Drum | 862 | 1500 | 500 | RZE
[5 empty] | 5.234 | km | 1315.6 | 6885.8504 |  |  | Drum | 884 | 1500 | 500 | RZE
[5 empty] | 1.25 | km | 1315.6 | 1644.5 |  |  | Drum | 398 | 1500 | 500 | RZE
[5 empty] | 2.006 | km | 1315.6 | 2639.0936 |  |  | Drum | 852 | 1500 | 500 | RZE
ADSS Micromodules | SM G657A2 | AERO-FM-144-EM3-0XCO6BKPP-079-21 | FIBRAIN CABLE AERO-FM SM 144* 9/125 G.657A2 24M6F ESM 1,0 2000N | Ask for datasheet | 0.808 | km | 2635.6 | 2129.5648 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 204 | 1000 | 450 | RZE
Dielectric, micromodules, outdoor | SM G652D | MDC-FM-288-AMG-0XCOCBKD6D1-079-21 | FIBRAIN CABLE MDC-FM SM 288* 9/125 G.652D 24M12F ESMG 1,3 2700N | Ask for datasheet | 0.673 | km | 4395.6 | 2958.2388 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D6D1.pdf |  | Drum | 383 | 1600 | 700 | RZE
Duct outdoor dielectric | SM G652D | BDC-VM-240-A-0X220U8BKVV-079-21 | FIBRAIN CABLE BDC-VM SM 240*9/125 G.652D 30T8F TUBE 2,0 2700N | https://cables.fibrain.com/uploads/produkty_rows/720/doc_en-61768fea0dfd1.pdf?v38 | 0.96 | km | 4219.6 | 4050.816 | https://cables.fibrain.com/produkt/vv-color-code,730.html |  | Drum | 570 | 1800 | 800 | RZE
Duct indoor / outdoor steel armoured | MM OM3 | SSC-T30U-004-K-0LC30BKII-079-21 | SIGNLE LOOSE TUBE WITH JELLY WITH NR. 4 F.O. 50/125 (STANDARD OM3) + FIBER GLASS + CORRUGATED STEEL TAPE + LSZH UV RESISTANT EXTERNAL JACKET (BLACK COLOUR) | https://cables.fibrain.com/uploads/produkty_rows/732/doc_en-6176929caf03c.pdf?v38 | 1.753 | km | 435.6 | 763.6068 | https://cables.fibrain.com/produkt/i-color-code,726.html |  | Drum | 469.5 | 1200 | 500 | RZE
[5 empty] | 2.679 | km | 435.6 | 1166.9724 |  |  | Drum | 470 | 1200 | 500 | RZE
WOW! SPECIAL DISCOUNT -25%!
ADSS Micromodules | SM G652D | AERO-FM-006-DM3-0XC16BKPP | FIBRAIN CABLE AERO-FM SM 6* 9/125 G.657A1 1M6F ESM 1,0 520N | https://cables.fibrain.com/uploads/produkty_rows/721/doc_en-6156f8f9f18cd.pdf?v38 | 0.931 | km | 1315.6 | 1224.8236 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 66 | 800 | 450 | RZE
ADSS Micromodules | SM G657A2 | AERO-FM-048-DM3-0XC4CBKDD-HT | FIBRAIN CABLE AERO-FM SM 48* 9/125 G.657A1 4M12F ESM 1,3 1200N | Ask for datasheet | 0.581 | km | 2195.6 | 1275.6436 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 79 | 1000 | 450 | RZE
[5 empty] | 0.493 | km | 2195.6 | 1082.4308 |  |  | Drum | 75 | 1000 | 450 | RZE
ADSS Micromodules | SM G657A2 | AERO-FM-072-EM3-0XC6CBKPP-079-21 | FIBRAIN CABLE AERO-FM SM 72* 9/125 G.657A2 6M12F ESM 1,3 1200N | Ask for datasheet | 1.226 | km | 3955.6 | 4849.5656 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 137 | 1000 | 450 | RZE
ADSS Drop | SM G657A1 | AERO-T63-02-DMA-0XCBKRT1-079-21 | FIBRAIN CABLE AERO-T63 SM 2* 9/125 G.657A1 ESM 0,9 1800N | Ask for datasheet | 0.974 | km | 699.6 | 681.4104 | https://cables.fibrain.com/produkt/t-telecom-tube,546.html | https://cables.fibrain.com/produkt/t-telecom-fiber,544.html | Drum | 76 | 800 | 500 | JAS
ADSS Micromodules | SM G657A1 | MAR-FM-024-DMG-0XC46BKPP | FIBRAIN CABLE MAR-FM 24F 9/125 G.657A1 4M6F ESMG 1,0 PE | Ask for datasheet | 3.93 | km |  |  | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 227 | 1000 | 450
[5 empty] | 4.006 | km |  |  |  |  | Drum | 230 | 1000 | 450
[5 empty] | 4.059 | km |  |  |  |  | Drum | 230 | 1000 | 450
ADSS | SM G657A1 | AERO-AS02-024-D-0X1202CBKTT | FIBRAIN CABLE AERO-AS02 24F 9/125 G.657A1 2T12F TUBE 2,0 PE | Ask for datasheet | 2.009 | km |  |  | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 250 | 1200 | 500
[5 empty] | 2.205 | km |  |  |  |  | Drum | 265 | 1200 | 500
[5 empty] | 2.109 | km |  |  |  |  | Drum | 258 | 1200 | 500
[5 empty] | 2.11 | km |  |  |  |  | Drum | 258 | 1200 | 500
[5 empty] | 2.014 | km |  |  |  |  | Drum | 251 | 1200 | 500
[5 empty] | 2.01 | km |  |  |  |  | Drum | 251 | 1200 | 500
ADSS | SM G657A2 | MAR-FM-012-EMH-0XC1CBKPP | FIBRAIN CABLE MAR-FM SM 12* 9/125 G657A2 1M12F ESMG 1,3 600N | Ask for datasheet | 4.065 | km | 875.6 | 3559.314 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 275 | 900 | 400 | RZE
ADSS | SM G657A2 | MAR-FM-024-EMG-0XC46BKPP-TDF-PR3 | FIBRAIN CABLE MAR-FM SM 24* 9/125 G.657A2 4M6F ESM 1,1 950N | https://cables.fibrain.com/uploads/produkty_rows/714/doc_en-6124c0b7ec028.pdf?v38 | 0.659 | km | 1755.6 | 1156.9404 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 96 | 800 | 500 | JAS
ADSS | SM G657A2 | MAR-FM-036-EM3-0XC66BKPP | FIBRAIN CABLE MAR-FM SM 36* 9/125 G.657A2 6M6F ESM 1,0 1000N | Ask for datasheet | 1.37 | km | 2107.6 | 2887.412 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 117 | 1000 | 450 | JAS
ADSS Micromodules | SM G657A2 | MAR-FM-048-EMG-0XC86BKPP-079-21 | FIBRAIN CABLE MAR-FM SM 48* 9/125 G.657A2 8M6F ESM 1,1 1450N | Ask for datasheet | 1.156 | km | 2195.6 | 2538.1136 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 112 | 900 | 400 | JAS
Duct outdoor dielectric | SM G652D | BDC-C0-008-A-0X12018BKT2T2 | FIBRAIN CABLE BDC-C0 SM 8* 9/125 G.652D 1T8F TUBE 2,0 2000N | https://fibrain.com/product/bdc-c0-2000n-duct-cable/ | 0.799 | km | 1755.6 | 1402.7244 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_T2.pdf |  | Drum | 99 | 800 | 400 | RZE
[5 empty] | 0.719 | km | 1755.6 | 1262.2764 |  |  | Drum | 95 | 800 | 500 | RZE
Duct outdoor dielectric | MM OM2 | BDC-C0-008-I-0L12018BKT2T2 | FIBRAIN CABLE BDC-C0 MM 8* 50/125 OM2 1T8F TUBA 2,0 2000N BLACK LSOH | https://fibrain.com/product/bdc-c0-lsoh-2000n-duct-cable/ | 2.569 | km | 1755.6 | 4510.1364 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_C3C3.pdf |  | Drum | 428 | 1200 | 500 | RZE
Duct outdoor dielectric | SM G657A1 | BDC-C0-024-D-0X1202CBKTT-PR2 | FIBRAIN CABLE BDC-C0 SM 24* 9/125 G.657A1 2T12F TUBE 2,0 2000N | https://fibrain.com/product/bdc-c0-2000n-duct-cable/ | 0.773 | km | 1579.6 | 1221.0308 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 90 | 900 | 400 | JAS
Duct outdoor dielectric | SM G652D | BDC-C0-072-A-0X1206CBKC3C3 | FIBRAIN CABLE BDC-C0 SM 72* 9/125 G.652D 6T12F TUBA 2,0 2000N | https://cables.fibrain.com/uploads/produkty_rows/320/doc_en-60475330698fa.pdf?v38 | 0.454 | km | 1755.6 | 797.0424 | https://cables.fibrain.com/produkt/c3c3-color-code,733.html |  | Drum | 235 | 1500 | 500 | RZE
Duct outdoor dielectric | SM G657A1 | BDC-C0-072-D-0X1206CBKD1D1 | FIBRAIN CABLE BDC-C0 SM 72* 9/125 G.657A1 6T12F TUBE 2,0 2000N | https://fibrain.com/product/bdc-c0-2000n-duct-cable/ | 1.187 | km | 1755.6 | 2083.8972 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D1D1.pdf |  | Drum | 189 | 1200 | 500 | RZE
Duct outdoor dielectric | SM G657A1 | BDC-CI-012-D-0X12026BKTT | FIBRAIN CABLE BDC-CI SM 12* 9/125 G.657A1 2T6F TUBE 2,0 2800N | https://cables.fibrain.com/uploads/produkty_rows/320/doc_en-6104029507690.pdf?v38 | 0.469 | km | 1315.6 | 617.0164 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 135 | 1200 | 500 | RZE
Duct outdoor dielectric | SM G652D | BDC-CI-024-A-0X1202CBKTT | FIBRAIN CABLE BDC-CI SM 24* 9/125 G.652D 2T12F TUBE 2,0 2700N | https://cables.fibrain.com/uploads/produkty_rows/320/doc_en-6104029507690.pdf?v38 | 0.35 | km | 1579.6 | 552.86 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 251 | 1500 | 500 | RZE
[5 empty] | 0.59 | km | 1579.6 | 931.964 |  |  | Drum | 204 | 1500 | 500 | RZE
Duct outdoor dielectric | SM G657A1 | BDC-CI-030-D-0X120361CBKTT | FIBRAIN CABLE BDC-CI SM 30* 9/125 G.657A1 3T6F + 1T12F TUBE 2,0 2700N PE | Ask for datasheet | 12.116 | km | 1623.6 | 19671.5376 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 1047 | 1500 | 500 | JAS
Duct outdoor dielectric | SM G652D | BDC-CI-048-A-0X12086BKTT | FIBRAIN CABLE BDC-CI SM 48* 9/125 G.652D 8T6F TUBA 2,0 2700N | https://cables.fibrain.com/uploads/produkty_rows/320/doc_en-6104029507690.pdf?v38 | 0.18 | km | 1755.6 | 316.008 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 68 | 1000 | 450 | RZE
Duct outdoor dielectric | SM G657A1 | BDC-CI-048-D-0X1204CBKTT | FIBRAIN CABLE BDC-CI SM 48* 9/125 G.657A1 4T12F TUBE 2,0 2700N | https://cables.fibrain.com/uploads/produkty_rows/320/doc_en-6104029507690.pdf?v38 | 0.193 | km | 1755.6 | 338.8308 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 166 | 1500 | 500 | RZE
Duct outdoor dielectric | SM G652D | BDC-CIE-432-A-0X32010CBKED | FIBRAIN CABLE BDC-CIE SM 432* 9/125 G.652D 36T12F TUBA 2,0 2700N | https://cables.fibrain.com/uploads/produkty_rows/320/doc_en-6165795707965.pdf?v38 | 0.203 | km | 4334.44 | 879.8913 | https://cables.fibrain.com/produkt/t-telecom-tube,546.html | https://cables.fibrain.com/produkt/d-datacom,547.html | Drum | 159 | 1200 | 500 | RZE
Duct outdoor dielectric | SM G657A1 | BDC-MSA-048-D-0X1184CBKTT | FIBRAIN CABLE BDC-MSA 48F 9/125 G.657A1 4T12F TUBE 1,8 PE | https://fibrain.com/product/bdc-msa-1500n-duct-cable/ | 0.314 | km | 1755.6 | 551.2584 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 173 | 1500 | 500 | RZE
Duct outdoor dielectric | SM G657A1 | BDC-MSA-072-D-0X1186CBKTT | FIBRAIN CABLE BDC-MSA 72F 9/125 G.657A1 6T12F TUBE 1,8 PE | https://fibrain.com/product/bdc-msa-1500n-duct-cable/ | 0.349 | km | 1843.6 | 643.4164 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 178 | 1400 | 600 | RZE
Duct outdoor dielectric | SM G652D | BDC-M0S-096-A-0X1188CBKTT-VEC | FIBRAIN CABLE BDC-M0S SM 96* 9/125 G.652D 8T12F TUBA 1,8 2000N | https://cables.fibrain.com/uploads/produkty_rows/719/doc_en-617684ff269cf.pdf?v38 | 0.265 | km | 2019.6 | 535.194 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 114 | 1400 | 600 | JAS
Duct outdoor dielectric, doble PE jacket | SM G652D | DDC-C0-048-AA-XX1203C34BKTT | FIBRAIN CABLE DDC-C0 SM 48* 9/125 ( 36*G.652D + 12*G.652D) 3T12F + 3T4F TUBA 2,0 3500N | Ask for datasheet | 0.495 | km | 1755.6 | 869.022 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf | Drum | 980 | 1500 | 500 | RZE
Duct outdoor dielectric, doble PE jacket | SM G652D | DDC-C0-072-A-XX1206CBKTT | FIBRAIN CABLE DDC-C0 SM 72* 9/125 G.652D 6T12F TUBE 2,0 3500N | Ask for datasheet | 0.202 | km | 2635.6 | 532.3912 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 172 | 1500 | 500 | RZE
Duct outdoor dielectric, doble PE jacket | SM G652D | DDC-L027B-048-AA-XX1173C34BKTT | FIBRAIN CABLE DDC-L027B SM 48* 9/125 G.652D 3T12F+3T4F TUBE 1,7 2700N | https://fibrain.com/product/ddc-l027b-multitube-double-jacket-indoor-cable2-7-kn-1-7-mm-tube/ | 0.454 | km | 2195.6 | 996.8024 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 156 | 1400 | 600 | JAS
Duct outdoor dielectric, doble PE jacket | SM G657A1 | DDC-L027B-144-D-XX117CCBKTT-EXTL | FIBRAIN CABLE DDC-L027B SM 144* 9/125 G.657A1 12T12F TUBA 1,7 4000N | https://fibrain.com/product/ddc-ci-4-kn-double-jacket-duct-cable-2/ | 2.236 | km | 4395.6 | 9828.5616 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 493 | 1400 | 600 | JAS
[5 empty] | 1.65 | km | 4395.6 | 7252.74 |  |  | Drum | 605 | 2000 | 9000 | RZE
Duct outdooe dielectric, double HDPE jacket, corrugated steel armouring | SM G657A1 | DSC-CI-024-D-XX12064BKD1D1-BNT | FIBRAIN CABLE DSC-CI SM 24* 9/125 G.657A1 6T4F TUBE 2,0 2700N | Ask for datasheet | 0.924 | km | 2195.6 | 2028.7344 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D1D1.pdf |  | Drum | 255 | 1200 | 500 | JAS
[5 empty] | 4.398 | km | 2195.6 | 9656.2488 |  |  | Drum | 865 | 1500 | 500 | JAS
[5 empty] | 1.879 | km | 2195.6 | 4125.5324 |  |  | Drum | 510 | 1500 | 500 | JAS
[5 empty] | 4.096 | km | 2195.6 | 8993.1776 |  |  | Drum | 815 | 1500 | 500 | JAS
[5 empty] | 4.142 | km | 2195.6 | 9094.1752 |  |  | Drum | 820 | 1500 | 500 | JAS
[5 empty] | 4.13 | km | 2195.6 | 9067.828 |  |  | Drum | 820 | 1500 | 500 | JAS
Dielectric, central tube, outdoor | MM OM4 | EXO-G0-02-L-0XC32HVRF | FIBRAIN CABLE EXO-G0 MM 2*50/125 OM4 CT TUBA 3,2 1500N PE | https://cables.fibrain.com/uploads/produkty_rows/312/doc_en-60475526f2011.pdf?v38 | 0.035 | km | 875.6 | 30.646 | https://cables.fibrain.com/produkt/f-ftth,549.html |  | Drum | 53 | 900 | 400 | RZE
[5 empty] | 0.167 | km | 875.6 | 146.2252 |  |  | Drum | 48 | 900 | 400 | RZE
Dielectric, central tube, indoor | MM OM1 | EXO-G0-08-H-0LC32BLII-079-21 | SINGLE LOOSE TUBE WITH JELLY WITH NR. 8 F.O. 62,5/125 (STANDARD OM1)+ FIBER GLASS WATER BLOCKING+LSZH U.V. RESISTANT EXTERNAL JACKET (BLUE COLOR) | https://cables.fibrain.com/uploads/produkty_rows/722/doc_en-61769537dd0b1.pdf?v38 | 4.005 | km | 875.6 | 3506.778 | https://cables.fibrain.com/produkt/i-color-code,726.html |  | Drum | 176 | 900 | 400 | JAS
[5 empty] | 0.735 | km | 875.6 | 643.566 |  |  | Drum | 182 | 900 | 400 | JAS
Dielectric, central tube, indoor | SM G652D | EXO-G0-24-A-0XC32BKTT | FIBRAIN CABLE EXO-G0 SM 24* 9/125 G.652D TUBE 3,2 2000N PE | https://cables.fibrain.com/uploads/produkty_rows/312/doc_en-60475526f2011.pdf?v38 | 0.107 | km | 875.6 | 93.6892 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Drum | 56 | 1000 | 450 | RZE
Dielectric, central tube, indoor | MM OM3 | EXO-G0-24-K-0LC32GYDD | FIBRAIN CABLE EXO-G0 MM 24*50/125 OM3 CT TUBE 3,2 2000N LSOH | https://cables.fibrain.com/uploads/produkty_rows/312/doc_en-60475526f2011.pdf?v38 | 0.216 | km | 2635.6 | 569.2896 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 54 | 800 | 400 | RZE
Dielectric, central tube, indoor | SM G657A1 | EXO-GU-24-D-0LC32BKYT2-COR | FIBRAIN CABLE EXO-GU SM 24*9/125 G.657A1 CT TUBA 3,2 1200N LSOH | https://cables.fibrain.com/uploads/produkty_rows/314/doc_en-604754a8c468d.pdf?v38 | 0.08 | km | 875.6 | 70.048 | https://cables.fibrain.com/produkt/t-telecom-tube,546.html | https://cables.fibrain.com/produkt/t-telecom-fiber,544.html | Drum | 31 | 800 | 450 | RZE
Dielectric, central tube, indoor | MM OM4 | EXO-D0-04-L-0LC25HVBLD1 | FIBRAIN CABLE EXO-D0 MM 4*50/125 OM4 CT TUBE 2,5 1300N LSOH ERICA VIOLET | https://fibrain.com/wp-content/uploads/2021/11/DSH_EXO-D0-LH_EN-1.pdf | 0.922 | km | 1315.6 | 1212.9832 | Ask for colour codes |  | Drum | 107 | 800 | 400 | RZE
[5 empty] | 0.137 | km | 1315.6 | 180.2372 |  |  | Drum | 61 | 800 | 400 | RZE
Dielectric, central tube, indoor | MM OM4 | EXO-D0-24-L-0LC25HVBLD1 | FIBRAIN CABLE EXO-D0 MM 24*50/125 OM4 CT TUBE 2,5 1300N LSOH ERICA VIOLET | https://fibrain.com/wp-content/uploads/2021/11/DSH_EXO-D0-LH_EN-1.pdf | 0.18 | km | 4395.6 | 791.208 | Ask for colour codes |  | Drum | 46 | 800 | 400 | RZE
Dielectric, central tube, indoor | MM OM3 | EXO-D0-24-K-0LC25AQRT | FIBRAIN CABLE EXO-D0 MM 24*50/125 OM3 CT TUBE 2,5 1300N LSOH AQUA | https://fibrain.com/wp-content/uploads/2021/11/DSH_EXO-D0-LH_EN-1.pdf | 0.069 | km | 2635.6 | 181.8564 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_TT-1.pdf |  | Reel | 318 | 900 | 400 | RZE
Tight buffer tube, indoor, For patchcords and pigtails | SM G652D | BFR-09-AB-0LYY | FIBRAIN CABLE BFR-09 SM 1* 9/125 G.652D ST TUBE 0,9 5N YELLOW | https://fibrain.com/wp-content/uploads/2021/10/DSH_BFR_06-09_EN.pdf | 8.006 | km | 61.4661 | 492.0975 |  |  | Reel | 11 | 400 | 200 | JAS
[5 empty] | 8.015 | km | 61.4661 | 492.6507 |  |  | Reel | 11 | 400 | 200 | JAS
Tight buffer tube, indoor, For patchcords and pigtails | SM G657A2 | SMX-20L-01-EB-0LYY | FIBRAIN CABLE SMX-20L SM 1* 9/125 G.657A2 ST TUBA 0,9 150N | https://fibrain.com/product/smx-simplex-cable/ | 4.048 | km | 210.6791 | 852.8289 |  |  | Reel | 25 | 600 | 300 | JAS
Breakout, indoor, outdoor | SM G657A1 | LBR2-19-024-DB-0L2O1-BKY1D-PR1 | FIBRAIN CABLE LBR2 - SUBCABLE 1,9MM 024 SM 24* 9/125 G657A1 ST TUBE 0,9 2000N | https://cables.fibrain.com/uploads/produkty_rows/722/doc_en-61bb291bcc555.pdf?v38 | 0.302 | km | 4395.6 | 1327.4712 | https://cables.fibrain.com/produkt/y1d-color-code,746.html |  | Drum | 105 | 1000 | 450 | RZE
[5 empty] | 1.825 | km | 4395.6 | 8021.97 |  |  | Drum | 428 | 1200 | 500 | RZE
Dielectric, micromodules, outdoor | SM G657A2 | MDC-FM-012-EM3-0XC1CBKPP | FIBRAIN CABLE MDC-FM SM 12* 9/125 G.657A2 1M12F ESM 1,3 800N | https://cables.fibrain.com/uploads/produkty_rows/719/doc_en-6156f5daecdaa.pdf?v38 | 0.64 | km | 1315.6 | 841.984 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 39 | 800 | 500 | RZE
Dielectric, micromodules, outdoor | SM G657A2 | MDC-FM-012-EM3-0XC1CBKPP-079-21 | FIBRAIN CABLE MDC-FM SM 12* 9/125 G.657A2 1M12F ESM 1,3 800N |  | 1.21 | km | 1315.6 | 1591.876 |  |  | Drum | 224 | 1200 | 500 | RZE
Dielectric, micromodules, outdoor | SM G657A2 | MDC-FM-048-EM3-0XC4CBKPP-FL-PR1 | FIBRAIN CABLE MDC-FM SM 48* 9/125 G.657A2 4M12F ESM 1,3 1000N | Ask for datasheet | 1.478 | km | 1315.6 | 1944.4568 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 102 | 800 | 500 | JAS
Dielectric, micromodules, outdoor | SM G657A2 | MDC-FM-072-EM-0XC6CBKPP | FIBRAIN CABLE MDC-FM SM 72* 9/125 G.657A2 6M12F ESM 1,4 1600N | https://cables.fibrain.com/uploads/produkty_rows/540/doc_en-616579f0309ff.pdf?v38 | 0.446 | km | 3515.6 | 1567.9576 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 67 | 800 | 500 | ROGPO
Dielectric, micromodules, indoor | SM G657A1 | MDC-FM-096-DM4-0LC8CYTNTN-TN | FIBRAIN CABLE MDC-FM SM 96* 9/125 G.657A1 8M12F TMG 1,4 1800N | Ask for datasheet | 0.162 | km | 3955.6 | 640.8072 | Ask for colour codes |  | Drum | 67 | 1000 | 450 | RZE
Microcable | SM G657A1 | MK-DX26-02-D-0XC17BKND | METROJET CABLE MK-DX26 SM 2* 9/125 G.657A1 CT TUBE 1,7 PE | https://fibrain.com/product/mk-dx-drop-microcable/ | 4.06 | km | 259.6 | 1053.976 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 30 | 600 | 300 | RZE
[5 empty] | 6.074 | km | 259.6 | 1576.8104 |  |  | Drum | 42 | 600 | 300 | RZE
Microcable | SM G657A1 | MK-DX26-02-D-0XC17BKNT | METROJET CABLE MK-DX26 SM 2* 9/125 G.657A1 CT TUBE 1,7 PE | https://fibrain.com/product/mk-dx-drop-microcable/ | 0.324 | km | 259.6 | 84.1104 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_T.pdf |  | Drum | 8 | 600 | 300 | RZE
[5 empty] | 0.579 | km | 259.6 | 150.3084 |  |  | Drum | 9 | 600 | 300 | RZE
[5 empty] | 0.398 | km | 259.6 | 103.3208 |  |  | Drum | 8 | 600 | 300 | RZE
[5 empty] | 0.194 | km | 259.6 | 50.3624 |  |  | Drum | 7 | 600 | 300 | RZE
[5 empty] | 0.357 | km | 259.6 | 92.6772 |  |  | Drum | 8 | 600 | 300 | RZE
[5 empty] | 0.51 | km | 259.6 | 132.396 |  |  | Drum | 9 | 600 | 300 | RZE
[5 empty] | 0.39 | km | 259.6 | 101.244 |  |  | Drum | 8 | 600 | 300 | RZE
[5 empty] | 0.215 | km | 259.6 | 55.814 |  |  | Drum | 7 | 600 | 300 | RZE
[5 empty] | 0.579 | km | 259.6 | 150.3084 |  |  | Drum | 9 | 600 | 300 | RZE
[5 empty] | 0.278 | km | 259.6 | 72.1688 |  |  | Drum | 7 | 600 | 300 | RZE
[5 empty] | 0.265 | km | 259.6 | 68.794 |  |  | Drum | 7 | 600 | 300 | RZE
Microcable | SM G657A1 | MK-DX26-04-D-0XC17BKNBG-TTR | METROJET CABLE MK-DX26 SM 4* 9/125 G.657A1 CT TUBE 1,7 | Ask for datasheet | 3.848 | km | 268.4 | 1032.8032 | Ask for colour codes |  | Drum | 29 | 600 | 300 | RZE
Microcable | SM G657A1 | MK-DX26-04-D-0XC17BKND | METROJET CABLE MK-DX26 SM 4* 9/125 G.657A1 CT TUBE 1,7 PE | https://fibrain.com/product/mk-dx-drop-microcable/ | 0.5 | km | 268.4 | 134.2 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 8 | 600 | 300 | RZE
Microcable | SM G657A1 | MK-DX26-04-D-0XC17BKNT | METROJET CABLE MK-DX26 SM 4* 9/125 G.657A1 CT TUBE 1,7 PE | https://fibrain.com/product/mk-dx-drop-microcable/ | 0.273 | km | 268.4 | 73.2732 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_T.pdf |  | Drum | 7 | 600 | 300 | RZE
[5 empty] | 0.277 | km | 268.4 | 74.3468 |  |  | Drum | 7 | 600 | 300 | RZE
[5 empty] | 0.607 | km | 268.4 | 162.9188 |  |  | Drum | 9 | 600 | 300 | RZE
[5 empty] | 0.562 | km | 268.4 | 150.8408 |  |  | Drum | 9 | 600 | 300 | JAS
[5 empty] | 0.809 | km | 268.4 | 217.1356 |  |  | Drum | 11 | 600 | 300 | JAS
[5 empty] | 0.472 | km | 268.4 | 126.6848 |  |  | Drum | 8 | 600 | 300 | JAS
[5 empty] | 0.733 | km | 268.4 | 196.7372 |  |  | Drum | 10 | 600 | 300 | JAS
Microcable | SM G657A1 | MK-DX26-06-D-0XC17BKNBG-TTR | METROJET CABLE MK-DX26 SM 6* 9/125 G.657A1 CT TUBE 1,7 | Ask for datasheet | 4.057 | km | 391.6 | 1588.7212 | Ask for colour codes |  | Drum | 30 | 600 | 300 | JAS
Microcable | SM G657A1 | MK-DX26-06-D-0XC17BKND | METROJET CABLE MK-DX26 SM 6* 9/125 G.657A1 CT TUBE 1,7 PE | https://fibrain.com/product/mk-dx-drop-microcable/ | 1.068 | km | 391.6 | 418.2288 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 12 | 600 | 300 | JAS
[5 empty] | 3.13 | km | 391.6 | 1225.708 |  |  | Drum | 24 | 600 | 300 | RZE
[5 empty] | 1.255 | km | 391.6 | 491.458 |  |  | Drum | 13 | 600 | 300 | RZE
[5 empty] | 3.077 | km | 391.6 | 1204.9532 |  |  | Drum | 24 | 600 | 300 | RZE
[5 empty] | 2.775 | km | 391.6 | 1086.69 |  |  | Drum | 22 | 600 | 300 | RZE
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-D40-01-EC-0LWRT-079-21 | FIBRAIN CABLE VC-D40 SM 1* 9/125 G.657A2 ES TUBE 0,9 420N | https://cables.fibrain.com/uploads/produkty_rows/722/doc_en-61b08c7d5b695.pdf?v38 | 0.642 | km | 259.6 | 166.6632 | https://cables.fibrain.com/produkt/t-telecom-fiber,544.html |  | Drum | 21 | 800 | 450 | ROGPO
[5 empty] | 1.29 | km | 259.6 | 334.884 |  |  | Drum | 31 | 800 | 450 | ROGPO
[5 empty] | 2.7486 | km | 259.6 | 713.5366 |  |  | Drum | 54 | 800 | 450 | ROGPO
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-T501-002-EM3-XL012-BKPP-079-21 | FIBRAIN CABLE VC-T501 SM 2* 9/125 G.657A2 MODUŁ 0,9 800N | Ask for datasheet | 6.997 | km | 435.6 | 3047.8932 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 220 | 900 | 400 | JAS
[5 empty] | 0.501 | km | 435.6 | 218.2356 |  |  | Drum | 21 | 600 | 400 | JAS
[5 empty] | 0.49 | km | 435.6 | 213.444 |  |  | Drum | 21 | 600 | 400 | JAS
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-T60-004-EM3-XL014-BKFF-079-21 | FIBRAIN CABLE VC-T60 SM 4* 9/125 G.657A2 ESM 0,9 800N | https://cables.fibrain.com/uploads/produkty_rows/721/doc_en-61b08e29299b8.pdf?v38 | 0.732 | km | 435.6 | 318.8592 | https://cables.fibrain.com/produkt/f-ftth,549.html |  | Drum | 52 | 900 | 400 | JAS
[5 empty] | 0.231 | km | 435.6 | 100.6236 |  |  | Drum | 17 | 800 | 450 | JAS
[5 empty] | 0.743 | km | 435.6 | 323.6508 |  |  | Drum | 32 | 800 | 450 | JAS
[5 empty] | 0.215 | km | 435.6 | 93.654 |  |  | Drum | 17 | 800 | 450 | JAS
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-T60-004-EC-XL011-BKFF-079-21 | FIBRAIN CABLE VC-T60 SM 1* 9/125 G.657A2 ES TUBE 0,9 800N | https://cables.fibrain.com/uploads/produkty_rows/721/doc_en-61b08e29299b8.pdf?v38 | 0.467 | km | 4395.6 | 2052.7452 | https://cables.fibrain.com/produkt/f-ftth,549.html |  | Drum | 20 | 800 | 450 | ROGPO
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-T60-002-EM3-XL012-BKPP. | FIBRAIN CABLE VC-T60 SM 2* 9/125 G.657A2 ESM 0,9 800N | https://cables.fibrain.com/uploads/produkty_rows/721/doc_en-61768b080a257.pdf?v38 | 199.332 | km | 699.6 | 139452.6672 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | Sections bettween 200m - 400m |  |  | RZE
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-T60-002-EM-XL012-BKPP | FIBRAIN CABLE VC-T60 SM 2* 9/125 G.657A2 ESM 0,9 800N | https://cables.fibrain.com/uploads/produkty_rows/529/doc_en-60472c91106bd.pdf?v38 | 5.363 | km | 699.6 | 3751.9548 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | Sections bettween 200m - 400m |  |  | RZE
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-T60-002-EM3-XL012-BKPP-FL | FIBRAIN CABLE VC-T60 SM 2* 9/125 G.657A2 ESM 0,9 800N | https://cables.fibrain.com/uploads/produkty_rows/721/doc_en-61768b080a257.pdf?v38 | 131.526 | km | 699.6 | 92015.5896 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | Sections bettween 200m - 400m |  |  | RZE
FTTH drop, doble sheath, aerial, direct buried, duct | SM G657A2 | VC-T60-004-EM3-XL014-BKPP-FL | FIBRAIN CABLE VC-T60 SM 4* 9/125 G.657A2 ESM 0,9 800N | https://cables.fibrain.com/uploads/produkty_rows/721/doc_en-61768b080a257.pdf?v38 | 3.28 | km | 699.6 | 2294.688 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | Sections bettween 200m - 400m |  |  | RZE
FTTH drop, indoor | SM G657A1 | VC-D30-01-DB-0LWD | FIBRAIN CABLE VC-D30 SM 1* 9/125 G.657A1 ST TUBA 0,9 170N | https://fibrain.com/product/vc-d30-kabel-abonencki/ | 0.106 | km | 261.7139 | 27.7417 | https://cables.fibrain.com/produkt/d-datacom,547.html |  | Drum | 3 | 600 | 300 | RZE
[5 empty] | 0.189 | km | 261.7139 | 49.4639 |  |  | Drum | 6 | 600 | 300 | RZE
FTTH drop, indoor | MM OM4 | VC-D40-02-DB-0LWD | FIBRAIN CABLE VC-D40 SM 2* 9/125 G.657A1 ST TUBE 0,9 420N | https://fibrain.com/product/vc-d40-kabel-abonencki/ | 0.821 | km | 435.6 | 357.6276 | https://cables.fibrain.com/produkt/d-datacom,547.html |  | Drum | 19 | 600 | 300 | RZE
FTTH drop, indoor, flat | MM OM4 | VC-DCY-02-L0-0LWD | FIBRAIN CABLE VC-DCY MM 2* 50/125 OM4 100N | https://fibrain.com/product/vc-dcy-flat-drop-cable/ | 0.548 | km | 435.6 | 238.7088 | https://cables.fibrain.com/produkt/d-datacom,547.html |  | Drum | 10 | 600 | 300 | RZE
[5 empty] | 0.146 | km | 435.6 | 63.5976 |  |  | Drum | 7 | 600 | 300 | RZE
Indoor, riser cable | SM G657A2 | EAC-RAM-012-EM3-0L026-WPP-079-21 | FIBRAIN CABLE EAC-RAM 12*9/125 G.657A2 2M6F MODUŁ ESM 1,0 400 N | https://cables.fibrain.com/uploads/produkty_rows/722/doc_en-61b090c8e00e2.pdf?v38 | 0.395 | km | 875.6 | 345.862 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 47 | 900 | 400 | RZE
[5 empty] | 1.02 | km | 875.6 | 893.112 |  |  | Drum | 120 | 1400 | 600 | RZE
Indoor, riser cable | SM G657A2 | EAC-RAM-012-EM3-0L01C-WPP-079-21 | FIBRAIN CABLE EAC-RAM 12*9/125 G.657A2 1M12F MODULE ESM 1,3 400 N | https://cables.fibrain.com/uploads/produkty_rows/722/doc_en-61b090c8e00e2.pdf?v38 | 0.133 | km | 875.6 | 116.4548 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum | 135 | 1400 | 600 | RZE
[5 empty] | 0.474 | km | 875.6 | 415.0344 |  |  | Drum | 164 | 1400 | 600 | RZE
Indoor, riser cable | SM G657A2 | EAC-RAM-012-EM3-0L026-WPP | FIBRAIN CABLE EAC-RAM 12*9/125 G.657A2 2M6F MODULE ESM 1,0 400 N | https://fibrain.com/product/eac-ram-kabel-latwego-dostepu/ | 0.114 | km | 875.6 | 99.8184 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum |  |  |  | RZE
Indoor, riser cable | SM G657A2 | EAC-RAM-024-EM3-0L046-WPP | FIBRAIN CABLE EAC-RAM 24*9/125 G.657A2 4M6F ESM MODULE 1,0 400 N | https://fibrain.com/product/eac-ram-kabel-latwego-dostepu/ | 0.219 | km | 1315.6 | 288.1164 | https://cables.fibrain.com/produkt/pp-color-code,728.html |  | Drum |  |  |  | RZE
Indoor, riser cable | SM G657A1 | EAC-RAS-012-DB-0L001-WFF | FIBRAIN CABLE EAC-RAS 12*9/125 G.657A1 ST TUBA 0,9 400 N | https://fibrain.com/product/eac-ras-kabel-latwego-dostepu/ | 0.472 | km | 875.6 | 413.2832 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_F.pdf |  | Drum | 99 | 1000 | 450 | RZE
FTTX, Data center, indoor | MM OM5 | DC-PRIM-20-002-M0-0LLGMT | FIBRAIN ŚWIATŁOWÓD DC-PRIM-20 MM 2* 50/125 OM5 170N | https://fibrain.com/product/dc-prim-20mm-cable/ | 1.935 | km | 875.6 | 1694.286 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_T.pdf |  | Drum | 10 | 400 | 200 | JAS
FTTX, Data center, indoor | SM G657A1 | DC-PRIM-012-D0-LLYD-PR1 | FIBRAIN CABLE DC-PRIM SM 12* 9/125 G.657A1 85N | Ask for datasheet | 1.586 | km | 435.6 | 690.8616 | https://fibrain.com/wp-content/uploads/2022/06/DSH_Colors_CODE_D.pdf |  | Drum | 16 | 400 | 200 | RZE
[5 empty] | 1.836 | km | 435.6 | 799.7616 |  |  | Drum | 18 | 400 | 200 | RZE
Supplementary sales conditions:
• Offer validity: until the stock sold out;
• Prices: EXW Rzeszów (Poland);
• General Sales Conditions available at https://fibrain.com/cooperation-with-fibrain/